## box size Rosenthal Henderson
Box size | Rosenthal & Henderson (2003) JMB, 333, 721-745
CCPEM discussion
Microscope | Krios | <-- drop-down list
particle size | 120 | Å | 1.2e-08 | m
pixel | 0.8 | Å | 8e-11 | m
low defocus | 300 | nm | 3e-07 | m
high defocus | 1000 | nm | 1e-06 | m
Lambda | 1.9688e-12 | m
Cs | 0.0027 | m
Res achieved | 1.7 | Å | 1.7e-10 | m
high defocus | 544 | ub pixels | 3.6267
low defocus | 342 | ub pixels
High defocus: | Nyquist [Å] | Particle box size [ub pixel] | Rescale [pixel] | box/particle
bin1 | 1.6 | 584 |  | 3.8933
bin2 | 3.2 | 320 | 160 | 2.1333
bin4 | 6.4 | 232 | 58 | 1.5467
bin8 | 12.8 | 192 | 24 | 1.28
| Nyquist [m] | R [m] | box [m] | box [pixel]
bin1 | 1.6e-10 | 1.7335e-08 | 4.667e-08 | 584
bin2 | 3.2e-10 | 6.7812e-09 | 2.5562e-08 | 320
bin4 | 6.4e-10 | 3.1548e-09 | 1.831e-08 | 230
bin8 | 1.28e-09 | 1.5479e-09 | 1.5096e-08 | 190
| lambda | Cs
Krios | 1.9688e-12 | 0.0027
Talos Arctica/Glacios | 2.5079e-12 | 0.0027
Polara | 1.9688e-12 | 0.00226
Tecnai 12 | 3.3492e-12 | 0.0063

## focus & dose
defocus [µm] |  |  | Dose [e/Å²] |  |  | Linear energy transfer
300 kV | 200 kV | 120 kV | 300 kV | 200 kV | 120 kV | KV | LET [Mev - cm^2/g]
0 | 0 | 0 | 40 | 34.2857 | 24.6154 | 120 | 3.9
-0.5 | -0.3925 | -0.29391 | 39 | 33.4286 | 24 | 200 | 2.8
-1 | -0.78501 | -0.58783 | 38 | 32.5714 | 23.3846 | 300 | 2.4
-1.5 | -1.1775 | -0.88174 | 37 | 31.7143 | 22.7692
-2 | -1.57 | -1.1757 | 36 | 30.8571 | 22.1538
-2.5 | -1.9625 | -1.4696 | 35 | 30 | 21.5385
-3 | -2.355 | -1.7635 | 34 | 29.1429 | 20.9231
-3.5 | -2.7475 | -2.0574 | 33 | 28.2857 | 20.3077
-4 | -3.14 | -2.3513 | 32 | 27.4286 | 19.6923
-4.5 | -3.5325 | -2.6452 | 31 | 26.5714 | 19.0769
-5 | -3.925 | -2.9391 | 30 | 25.7143 | 18.4615
-5.5 | -4.3176 | -3.233 | 29 | 24.8571 | 17.8462
-6 | -4.7101 | -3.527 | 28 | 24 | 17.2308
-6.5 | -5.1026 | -3.8209 | 27 | 23.1429 | 16.6154
-7 | -5.4951 | -4.1148 | 26 | 22.2857 | 16
-7.5 | -5.8876 | -4.4087 | 25 | 21.4286 | 15.3846
-8 | -6.2801 | -4.7026 | 24 | 20.5714 | 14.7692
-8.5 | -6.6726 | -4.9965 | 23 | 19.7143 | 14.1538
-9 | -7.0651 | -5.2904 | 22 | 18.8571 | 13.5385
-9.5 | -7.4576 | -5.5843 | 21 | 18 | 12.9231
-10 | -7.8501 | -5.8783 | 20 | 17.1429 | 12.3077
|  |  | 19 | 16.2857 | 11.6923
| lambda | Cs | 18 | 15.4286 | 11.0769
Krios | 1.9688e-12 | 0.0027 | 17 | 14.5714 | 10.4615
Talos | 2.5079e-12 | 0.0027 | 16 | 13.7143 | 9.8462
Polara | 1.9688e-12 | 0.00226 | 15 | 12.8571 | 9.2308
Tecnai 12 | 3.3492e-12 | 0.0063 | 14 | 12 | 8.6154
|  |  | 13 | 11.1429 | 8
|  |  | 12 | 10.2857 | 7.3846
|  |  | 11 | 9.4286 | 6.7692
|  |  | 10 | 8.5714 | 6.1538
|  |  | 9 | 7.7143 | 5.5385
|  |  | 8 | 6.8571 | 4.9231
|  |  | 7 | 6 | 4.3077
|  |  | 6 | 5.1429 | 3.6923
|  |  | 5 | 4.2857 | 3.0769
|  |  | 4 | 3.4286 | 2.4615
|  |  | 3 | 2.5714 | 1.8462
|  |  | 2 | 1.7143 | 1.2308
|  |  | 1 | 0.85714 | 0.61538
|  |  | 0 | 0 | 0